## Sheet1
ROLO comparison lunar brightness
Original analysis by Alan Holmes
2023-02-06
[6 empty] | Original | New
45.646 | Band 6 pixel size in arcseconds |  |  |  |  | Nominal | Nominal
1313.651 | Nominal number of pixels in lunar image |  |  |  | Solar Diameter | 1919 | 1985
0.68169 | Nominal scan speed for 18.6 milliseconds per pixel |  |  |  | Lunar Diameter | 1848 | 1866.8
Lunar Calibration Summary:
Date | Nominal | 2022-04-14 | 2022-10-07 | 2022-11-05 | 2023-02-02
Time |  |  | 947 | 2105 | 444
Phase angle | 30 | 35.67 | 31.94 | 31.16 | 38.92
Phase Angle Factor (x1E6) | 3.9737 | 3.4512 | 3.7866 | 3.8608 | 3.183
Solar Diameter | 1985 | 1914 | 1920 | 1936 | 1947
Lunar Diameter | 1866.8 | 1871 | 1927 | 1873 | 1766
Speed factor (deg/sec) | 0.68169 | 0.498 | 0.107 | 0.14297 | 0.0536
Total number of pixels | 1313.651 | 1458.5719 | 7950.3665 | 5827.3924 | 11522.342
Relative to nominal | 1 | 1.1103 | 6.0521 | 4.436 | 8.7712
Unit 2: Flight Unit Results
Band | Wavelength (nm) | Unit 2 | Exposure |  |  | Counts | Exo-atm | Derived | ROLO | Nominal | Nominal
|  | Calibration | (ms) | Response | 35 | per rad | Irradiance | Exo-Atm | Lunar | ADU per | Total
|  | Counts/ms/ |  | % Change | to | unit | Over Passband | Rad Units | Reflectivity | Pixel | ADU
|  | rad unit |  | per Deg C | 16 C |  | (Averaged) |  | (Nominal)
1 | 412.97 | 24.3576 | 4.1181 | 0 | 1 | 100.3079 | 1713 | 545.2648 | 0.040616 | 2221.4784 | 2918247.4479
2 | 447.37 | 29.3817 | 4.126 | -0.066641 | 1.0127 | 122.7652 | 1946 | 619.431 | 0.043734 | 3325.7577 | 4368885.0995
3 | 488.11 | 45.3021 | 4.146 | -0.02961 | 1.0056 | 188.8806 | 1960 | 623.8874 | 0.047735 | 5625.1395 | 7389470.3519
4 | 509.55 | 49.6597 | 4.1637 | -0.014066 | 1.0027 | 207.3208 | 1875 | 596.831 | 0.049939 | 6179.2424 | 8117368.1712
5 | 556.69 | 56.3398 | 3.4725 | -0.013636 | 1.0026 | 196.1492 | 1855 | 590.4648 | 0.054924 | 6361.2863 | 8356510.3854
6 | 670.37 | 53.6583 | 3.6013 | 0.03328 | 0.99368 | 192.0203 | 1535 | 488.6057 | 0.066805 | 6267.7642 | 8233654.9884
7 | 751.42 | 38.6209 | 4.3841 | 0.064921 | 0.98766 | 167.2301 | 1268 | 403.6169 | 0.074087 | 5000.6145 | 6569062.3851
8 | 865.79 | 58.4258 | 4.4757 | 0.20325 | 0.96138 | 251.3992 | 978 | 311.3071 | 0.080749 | 6319.6409 | 8301802.8425
Band | Wavelength (nm) | Measured |  |  |  | Normalized |  |  |  | Relative |  |  |  |  | Final results calculated here saved as lunar_calibration_results_for_plotting.csv and read into Python script for final visualization
|  | Total |  |  |  | to |  |  |  | to
|  | ADU |  |  |  | nominal |  |  |  | Expected
|  | 2022-04-14 | 2022-10-07 | 2022-11-05 | 2023-02-02 | 2022-04-14 | 2022-10-07 | 2022-11-05 | 2023-02-02 | 2022-04-14 | 2022-10-07 | 2022-11-05 | 2023-02-02 | Average
1 | 412.97 | 2671620 | 14861700 | 10817450 | 20755000 | 2406173.066 | 2455621.0795 | 2438544.3045 | 2366257.4226 | 0.82453 | 0.84147 | 0.83562 | 0.81085 | 0.82812
2 | 447.37 | 4273500 | 23011950 | 16880850 | 32900000 | 3848893.4047 | 3802299.1649 | 3805397.8177 | 3750897.0949 | 0.88098 | 0.87031 | 0.87102 | 0.85855 | 0.87022
3 | 488.11 | 8422680 | 46476300 | 34011075 | 66570000 | 7585819.0012 | 7679349.0634 | 7667011.4705 | 7589581.1431 | 1.0266 | 1.0392 | 1.0376 | 1.0271 | 1.0326
4 | 509.55 | 8872500 | 49420350 | 35379400 | 69650000 | 7990945.7664 | 8165798.88 | 7975468.7442 | 7940728.9562 | 0.98443 | 1.006 | 0.98252 | 0.97824 | 0.98779
5 | 556.69 | 9490740 | 51838350 | 37485000 | 73815000 | 8547758.6501 | 8565328.6626 | 8450127.6414 | 8415576.5672 | 1.0229 | 1.025 | 1.0112 | 1.0071 | 1.0165
6 | 670.37 | 9171120 | 49739400 | 35922775 | 71505000 | 8259895.4677 | 8218515.9921 | 8097960.0903 | 8152215.7073 | 1.0032 | 0.99816 | 0.98352 | 0.99011 | 0.99374
7 | 751.42 | 6809040 | 37211700 | 26882975 | 53550000 | 6132507.1132 | 6148545.2487 | 6060145.9285 | 6105183.5694 | 0.93354 | 0.93599 | 0.92253 | 0.92938 | 0.93036
8 | 865.79 | 8435700 | 45432000 | 32792900 | 66430000 | 7597545.3595 | 7506797.8012 | 7392402.047 | 7573619.8788 | 0.91517 | 0.90424 | 0.89046 | 0.91229 | 0.90554